WATERWORKS ORDINANCE

- CHAPTER 102

WATERWORKS ORDINANCE - LONG TITLE

Long title VerDate:30/06/1997

To repeal and replace the Waterworks Ordinance 1938.

[1 January 1975]  L.N. 271 of 1974

(Originally 44 of 1974)

WATERWORKS ORDINANCE - SECT 1

Short title VerDate:30/06/1997

PART I

PRELIMINARY

This Ordinance may be cited as the Waterworks Ordinance.

SECT 2

Interpretation VerDate:01/07/1997

Adaptation amendments retroactively made - see 29 of 1998 ss. 23 & 105

In this Ordinance, unless the context otherwise requires-

"agent"  means a person who is approved under section 7 as an agent

of a communal service;

"charge"  means any charge for water, any fee, the cost of repairs or

other works carried out by the Water Authority under section 17, and any

other charge, including a surcharge, which is payable under this

Ordinance;

"communal service"  means that part of a fire service or inside

service which is used in common by more than one consumer in the same

premises;

"connection to the main"  means the pipe between the main and the

control valve which is nearest to the main and which regulates the flow of

a supply from the main into a fire service or inside service, such control

valve and all fittings between such control valve and the main;

"consumer"  means a person who is approved under section 7 as a

consumer of a fire service or inside service;

"consumption"  means the supply obtained;

"deposit"  means a deposit under section 19;

"domestic purpose"  means a purpose connected solely with the

occupation of a dwelling-house and does not include a purpose connected

with a garden, lawn, playground or swimming pool appurtenant to a

dwelling-house;

"fire service"  means the pipes and fittings in premises, and any

pipes and fittings between the premises and a connection to the main,

which are used or are intended to be used for a supply solely for the

purposes of fire fighting;

"fitting" means-

(a)	any apparatus, cistern, cock, equipment, machinery, material,

tank, tap and valve; and

(b)	any appliance or device other than a meter,

which is installed or used in a fire service or inside service;

"gathering ground"  means any surface of land-

(a)	 in or by which rain or other water is collected and from which

water is, or is intended to be, drawn for the purposes of a supply; and

(b)	which is mapped as a gathering ground under section 23;

"inside service" means the pipes and fittings in premises, and

any pipes and fittings between the premises and a connection to the main,

(other than the pipes and fittings forming part of a fire service) which

are used or are intended to be used for the purposes of a supply;

"land held by the Government" means land which is not-

(a)	leased land; or

(b)	occupied under-

(i)	a licence issued under section 5 of the Land (Miscellaneous

Provisions) Ordinance (Cap 28);

(ii)	a licence or permit granted or issued under any other

Ordinance; or

(iii)	a deed or memorandum of appropriation;  (Amended 29 of 1998

s. 23)

"leased land"  means land which is-

(a)	held under a Government lease; or  (Amended 29 of 1998 s. 105)

(b)	vested in a person by an Ordinance;

"licensed plumber"  means a person licensed under this Ordinance to

construct, install, maintain, alter, repair or remove fire services or

inside services;  (Amended 81 of 1992 s. 2)

"main"  includes a connection to the main and any pipe owned by the

Government and maintained by the Water Authority for the purposes of a

supply;

"meter"  means an appliance or device owned by the Government and

maintained by the Water Authority for the purpose of measuring

consumption;

"premises"  means any building or structure or any part thereof and

any place-

(a)	in which there is a fire service, inside service or any part of

the waterworks; or

(b)	in which a fire service or inside service is intended to be

constructed or installed;

"public standpipe"  means a standpipe owned by the Government and

established by the Water Authority under section 13;

"supply"  means a supply of water provided by the Water Authority from

the waterworks;

"Water Authority" means the Director of Water Supplies;  (Amended

L.N. 76 of 1982)

"waterworks"  means any property occupied, used or maintained by the

Water Authority for the purposes of this Ordinance and any gathering

ground.

SECT 3

Control of waterworks VerDate:30/06/1997

PART II

DUTIES AND POWERS OF WATER AUTHORITY

(1)	Subject to subsection (2), the Water Authority shall have the

custody and control of the waterworks and of all water therein.

(2)	Subsection (1) shall not apply to leased land within a

gathering ground.

SECT 4

Duties of the Water Authority VerDate:01/07/1997

Amendments retroactively made - see 29 of 1998 s. 105

(1)	The duties of the Water Authority shall be-

(a)	to supply water from the waterworks in accordance with this

Ordinance;

(b)	to acquire and conserve water;

(c)	to supervise and regulate consumption;

(d) 	to ensure the proper administration and management of the

waterworks, and to make due provision for the security thereof;

(e)	to require payment of any charge and take such steps as may be

necessary to enforce such payment; and

(f)	generally to administer the provisions of this Ordinance.

(2)	The Water Authority may do all things necessary or convenient

to be done for and in connection with or incidental to the due discharge

of his duties under this Ordinance and in particular may construct,

install, inspect, test, regulate, alter, repair or remove any part of the

waterworks in, under or over any street or land held by the Government.

(Amended 29 of 1998 s. 105)

SECT 5

Delegation by the Water Authority VerDate:30/06/1997

(1)	The Water Authority may, either generally or in any particular

case, delegate any public officer to exercise or perform on his behalf any

of the powers conferred or duties imposed upon him under this Ordinance.

(2)	Where any power conferred or duty imposed upon the Water

Authority is exercised or performed by a public officer, the Water

Authority shall, unless the contrary is proved, be deemed to have

delegated the public officer under subsection (1) to exercise the power or

perform the duty.

SECT 6

Power of Chief Executive to give directions VerDate:01/07/1997

Adaptation amendments retroactively made - see 57 of 1999 s. 3

(1)	The Chief Executive may give to the Water Authority and to any

public officer, other than a judge, a district judge or a magistrate, such

directions as he thinks fit with respect to the exercise or performance of

their respective powers or duties under this Ordinance, either generally

or in any particular case.

(2)	A person to whom a direction is given by the Chief Executive

under subsection (1) shall, in the exercise or performance of his powers

or duties under this Ordinance, comply with that direction.

(Amended 57 of 1999 s. 3)

SECT 7

Approval of consumer and agent VerDate:30/06/1997

(1)  The Water Authority may approve, as the consumer of a fire service or

inside service in any premises, any person who-

(a)	occupies the premises; or

(b)	is responsible for the management of the premises or any part

thereof; and

(c)	gives an undertaking, in such form as the Water Authority may

specify,-

(i)	to pay any charge due in respect of the fire service or inside

service; and

(ii)	to accept responsibility for the custody and maintenance of

the fire service or inside service and the custody of any meter pertaining

to the fire service or inside service.  (Amended 81 of 1992 s. 3)

(2)	The Water Authority may approve, as the agent of a communal

service in any premises, any person who-

(a)	occupies the premises; or

(b)	is responsible for the management of the premises or any part

thereof; and

(c)	gives an undertaking, in such form as the Water Authority may

specify,-

(i)	to pay any charge due in respect of the communal service; and

(ii)	to accept responsibility for the custody and maintenance of

the communal service.  (Amended 81 of 1992 s. 3)

(3)	A consumer or agent may at any time apply to the Water

Authority for cancellation of an undertaking given by him under this

section and the Water Authority shall, if all charges due from the

consumer or agent have been paid, cancel the undertaking whereupon he

shall cease to be the consumer or agent.

SECT 8

Refusal of a connection or reconnection VerDate:30/06/1997

(1)	The Water Authority may refuse to connect or reconnect a fire

service or inside service to the main if-

(a)	the fire service or inside service, or any alteration thereto,

is not approved by the Water Authority; or

(b)	there is no consumer for the fire service or inside service or,

if there is a communal service, no agent for the communal service.

(2)	Where the Water Authority refuses to connect or reconnect a

fire service or inside service to the main he shall serve on the applicant

for the connection or reconnection notice of such refusal and the notice

shall specify the reasons for the refusal.

SECT 9

Restriction or suspension of a supply VerDate:30/06/1997

The Water Authority may restrict or suspend a  supply, for such time as he

thinks fit, if he is satisfied that this is necessary or expedient-

(a)	to conserve water;

(b)	to prevent waste of water;

(c)	to construct, install, inspect, test, regulate, alter, repair

or remove any part of the waterworks or any fire service or inside

service;

(d)	to avoid damage to, or a breakdown in, the waterworks or any

fire service or inside service, whether from fire, pollution, waste or

otherwise; or

(e)	for the protection of life or property.

SECT 10

Disconnection of a fire service or inside service VerDate:30/06/1997

The Water Authority may disconnect a  fire service or inside service if-

(a)	any charge in respect of the fire service or inside service is

not paid;

(b)	there is no consumer for the fire service or inside service or,

if there is a communal service, no agent for the communal service;

(c)	the fire service or inside service does not, in the opinion of

the Water Authority, comply with the provisions of this Ordinance;

(d)	the fire service or inside service is constructed, installed,

or altered without his permission;

(e)	the consumer or agent, on receipt of a notice under section 16,

fails to carry out the repairs or other works specified in the notice;

(f)	the Water Authority, or any person authorized by him in

writing, is obstructed from entering the premises or carrying out any

function under section 12;

(g)	the Water Authority is satisfied that waste, misuse or

pollution of the supply has occurred or is likely to occur; or

(h)	the occupier (if any) of the premises and the consumer, on

receipt of a notice in writing from the Water Authority requiring them to

make reasonable arrangements to enable the Water Authority or any person

authorized by him in writing to enter the premises or carry out any

function under section 12, fail to make such arrangements within a

reasonable time.  (Added 81 of 1992 s. 4)

SECT 11

Notice of restriction, suspension or disconnection VerDate:30/06/1997

(1)	Except in the case of an unforeseen emergency, prior notice of

any restriction or suspension of a supply under section 9, or of

disconnection of a fire service or inside service under section 10, shall

be served on the consumer and agent by the Water Authority and the notice

shall specify the reasons for the restriction, suspension or

disconnection.

(2)	Notice under subsection (1) shall, where there is no consumer

or agent, be served on the occupier of the premises or left at the

premises.

SECT 12

Power of entry into premises VerDate:30/06/1997

(1)	Subject to subsection (2), the Water Authority, and any person

authorized by him in writing, may enter at any reasonable time, or in case

of urgency at any time, any premises to-

(a)	ascertain consumption;

(b)	restrict or suspend a supply under section 9;

(c)	disconnect a fire service or inside service under section 10 or

19(2);

(d)	ascertain whether there is in respect of a fire service or

inside service on the premises any contravention of this Ordinance;

(e)	install, inspect, test, regulate, alter, repair or remove any

part of the waterworks or any fire service or inside service therein.

(2)	Except in case of urgency, neither the Water Authority nor a

person authorized by him may enter any premises under subsection (1)

unless he-

(a)	first obtains the consent of the occupier of such premises; or

(b)	first obtains a warrant under subsection (3).

(3)	If it is shown to the satisfaction of a magistrate on sworn

information in writing that-

(a)	admission to any premises has been refused, or refusal is

apprehended, or the premises are unoccupied, or the occupier is

temporarily absent, or an application for admission would defeat the

object of the entry;

(b)	there is reasonable ground for entry into the premises for any

purpose specified in subsection (1); and

(c)	notice of the intention to apply for the warrant has been

served on the occupier of the premises, or such notice cannot be served

because the premises are unoccupied or the occupier is temporarily absent,

or the serving of such notice would defeat the object of the entry,

the magistrate may by warrant authorize the Water Authority, or any person

authorized by the Water Authority in writing, to enter the premises, if

need be by force. (Amended 47 of 1997 s. 10)

(4)	The Water Authority, or any person authorized by him, entering

any premises under this section may take with him such persons as may be

necessary, and on leaving any unoccupied premises which he has entered

shall leave them as effectually secured against trespassers as he found

them to be at the time of entry.

(5)	Every warrant issued under subsection (3) shall continue in

force until the purpose of which the entry is necessary has been

satisfied.

SECT 13

Public standpipes VerDate:30/06/1997

(1)	The Water Authority may establish public standpipes in any

place to supply water to the public free of charge.

(2)	Except with the permission in writing of the Water Authority,

no person shall take water from a public standpipe for any purpose other

than a domestic purpose.

(3)	Any person who contravenes subsection (2) shall be guilty of an

offence.

SECT 14

Construction, etc., of fire services and inside services VerDate:30/06/1997

PART III

FIRE SERVICES AND INSIDE SERVICES

(1)	Subject to subsection (2), no person shall, except with the

permission in writing of the Water Authority, construct, install, alter or

remove a fire service or inside service.

(2)	The Water Authority may waive the requirement of permission

under subsection (1) in the case of alterations to a fire service or

inside service which are, in his opinion, of a minor nature.

(3)	The construction or installation of a fire service or inside

service shall be carried out in such manner as may be prescribed and the

nature, size and quality of the pipes and fittings of the fire service or

inside service shall be as prescribed.

(4)	 Any person who contravenes subsection (1) or (3) shall be

guilty of an offence.

SECT 15

Construction, etc. by licensed plumbers VerDate:30/06/1997

(1)	Subject to subsection (2), no fire service or inside service

shall be constructed, installed, maintained, altered, repaired or removed

by a person other than a licensed plumber or a public officer authorized

by the Water Authority.

(2)	Alterations or repairs to a fire service or inside service

which are, in the opinion of the Water Authority, of a minor nature, or

the rewashering of a tap, may be carried out by a person other than a

licensed plumber or a public officer authorized by the Water Authority.

(3)	Subject to subsection (2), any person who-

(a)	contravenes subsection (1); or

(b)	employs or permits a person other than a licensed plumber or a

public officer authorized by the Water Authority to construct, install,

maintain, alter, repair or remove a fire service or inside service,

shall be guilty of an offence.

SECT 16

Water Authority may require repairs to be carried out VerDate:30/06/1997

(1)	The Water Authority may, if he is satisfied that a fire service

or inside service-

(a)	is in such a condition that waste or pollution of a supply has

occurred or is likely to be caused thereby;

(b)	has been altered without his permission; or

(c)	does not comply with the provisions of this Ordinance,

by notice require the consumer to carry out the repairs or other works

specified in the notice to the fire service or inside service.

(2)	If under subsection (1) repairs or other works are to be

carried out to a communal service, the notice requiring the repairs or

other works shall be served on the agent.

SECT 17

Cost of constructing, etc., fire services and inside services VerDate:01/07/1997

Amendments retroactively made - see 29 of 1998 s. 105

(1)	Subject to subsection (2), a consumer shall bear the cost of

constructing, installing, maintaining, altering, repairing or removing a

fire service or inside service.

(2)	The cost of maintaining, altering, repairing or removing-

(a)	a communal service shall be borne by the agent;

(b)	any part of a fire service or inside service which is on land

held by the Government shall be borne by the Water Authority.  (Amended 29

of 1998 s. 105)

(3)	The Water Authority may alter or repair a fire service or

inside service at the request of a consumer, or a communal service at the

request of an agent, and the cost thereof shall, subject to subsection

(2)(b), be payable by the person at whose request such alteration or

repair is carried out.

(4)	If a consumer or agent, on receipt of a notice under section

16, fails to carry out the repairs or other works specified in the notice,

the Water Authority may carry out the repairs or other works and the cost

thereof shall be payable by the consumer or agent.

SECT 18

Supply to be metered VerDate:30/06/1997

Except where this Ordinance otherwise provides, a supply shall be measured

by meter or in such other manner as the Water Authority may determine.

SECT 19

Deposits VerDate:30/06/1997

PART IV

DEPOSITS AND CHARGES

(1)	The Water Authority may fix the amount of, and require the

payment of, a deposit by a consumer to cover any charge due or which may

become due.

(2)	If payment of a deposit is required from a consumer of an

existing fire service or inside service, the Water Authority may

disconnect the fire service or inside service if the deposit is not paid

within 14 days after the date of service of the notice requiring the

payment.

(3)	If payment of a deposit is required from a consumer of a new

fire service or inside service, the Water Authority may refuse to connect

the fire service or inside service to the main until the deposit is paid.

(4)	A deposit paid under this section-

(a)	shall not bear interest;

(b)	shall not be transferable; and

(c)	may, without prejudice to the exercise of any other power under

this Ordinance, be applied by the Water Authority at any time to the

payment of any charge.

(5)	Subject to subsection (4)(c), a deposit shall be refunded to a

consumer if-

(a)	another consumer is approved by the Water Authority in his

place;

(b)	an undertaking given by him under section 7 is cancelled by the

Water Authority; or

(c)	the Water Authority is of the opinion that the deposit is no

longer required.

SECT 20

Liability for charges VerDate:30/06/1997

(1)	Unless otherwise expressly provided in this Ordinance, all

charges arising in connection with or in consequence of a supply,

including the charges for making a connection to the main and installing a

meter, shall be payable by the consumer or, in the case of a communal

service, the agent.  (Amended 81 of 1992 s. 5)

(2)	The liability of a consumer and agent under an undertaking

given under section 7 shall continue until-

(a)	another consumer or agent is approved by the Water Authority in

his place; or

(b)	the undertaking is cancelled by the Water Authority,

notwithstanding that-

(i)	he ceases to occupy the premises;

(ii)	he ceases to be responsible for the management of the premises

or any part thereof; or

(iii)	the Water Authority exercises any power under section 8, 9,

10 or 19(2).

SECT 21

Unpaid charges VerDate:01/07/1997

Adaptation amendments retroactively made - see 57 of 1999 s. 3

(1)	A charge which is not paid shall be a debt due to the

Government.  (Amended 57 of 1999 s. 3)

(2)	Where a charge is not paid on or before the date specified in a

notice of demand, a surcharge on the unpaid charge may be levied in

accordance with regulations made under this Ordinance.

SECT 22

Reduction etc., of charges VerDate:30/06/1997

The Water Authority may in any particular case reduce, waive or refund, in

whole or in part, a charge.

SECT 23

Mapping of gathering grounds VerDate:12/02/2005

PART V

GATHERING GROUNDS

(1)	The Water Authority shall prepare maps showing all gathering

grounds existing at the commencement of this Ordinance.

(2)	Where a new gathering ground, or an extension of a gathering

ground mapped under this section, is required for the purpose of extending

or augmenting a supply, the Water Authority shall, after giving

consideration to the preservation of traditional rights of any person to

take water for agricultural and domestic purposes-

(a)	mark the limits or area of the new gathering ground on any map

prepared under this section;

(b)	prepare a new map for the new gathering ground; or

(c)	alter the limits or area of the gathering ground on any map

prepared under this section.

(3)	Where there has been a reduction in the area of any gathering

ground, the Water Authority shall accordingly alter the limits or area of

that gathering ground on any map prepared under this section.

(4)	Any map prepared, or any additions or alterations made thereto,

under this section shall be signed and dated by the Water Authority.

(5)	A map of a gathering ground prepared under this section shall

be deposited in the Land Registry.  (Replaced 20 of 2002 s. 5)

(6)	A notice of a map prepared under this section and of any

additions or alterations made thereto shall be published in the Gazette

together with the address of the Land Registry in which the map is

deposited under subsection (5).  (Amended 8 of 1993 s. 2)

SECT 24

Control of leased land in gathering grounds VerDate:01/07/1997

Adaptation amendments retroactively made - see 57 of 1999 s. 3

(1)	The Chief Executive may by notice in writing require a lessee

of land within a gathering ground to drain, treat, or develop his leased

land, in such manner as the Chief Executive may specify, for any purpose

connected with the waterworks, including the prevention, control or

rectification of contamination or damage to the waterworks.  (Amended 57

of 1999 s. 3)

(2)	Where the lessee carries out any work in compliance with a

notice under subsection (1), the reasonable cost of the work shall be paid

by the Water Authority.

(3)	No payment under subsection (2) shall be made unless the work

is carried out to the satisfaction of the Water Authority.

SECT 25

Carrying out of work by Water Authority VerDate:01/07/1997

Adaptation amendments retroactively made - see 57 of 1999 s. 3

(1)	If a lessee fails to comply with a notice under section 24(1),

or requests the Water Authority in writing to carry out the work specified

in the notice, the Chief Executive may require the Water Authority to

comply with the notice.  (Amended 57 of 1999 s. 3)

(2)	The Water Authority, and any person authorized by him in

writing, may enter any leased land to comply with a requirement under

subsection (1) on giving the lessee 14 days' notice of the intention to so

enter.

(3)	Where the Water Authority carries out any work under this

section, the cost of the work shall be borne by the Water Authority.

SECT 26

Compensation VerDate:01/07/1997

Adaptation amendments retroactively made - see 25 of 1998 s. 2; 57 of 1999

s. 3

(1)	A lessee who suffers damage or loss as a result of compliance

with a notice under section 24(1), whether the work is carried out by the

lessee or the Water Authority, and who claims compensation in respect

thereof, shall deliver to the Water Authority particulars in writing of

such damage or loss and of his claim for compensation, and the Chief

Executive may, if he thinks fit, negotiate with the lessee for the

settlement or compromise of the claim.  (Amended 57 of 1999 s. 3)

(2)	If the Chief Executive and the lessee do not agree on the

settlement or compromise of the claim within 3 months of the delivery of

particulars, the lessee may notify the Water Authority that he desires a

reference to a tribunal; and the Chief Executive shall thereupon refer the

claim with the particulars thereof to a tribunal, consisting of a District

Judge nominated by the Chief Justice for the purpose.  (Amended 57 of 1999

s. 3)

(3)	The tribunal shall hear any evidence which the Water Authority

or the lessee may wish to tender and, if so desired, hear counsel on

behalf of the Government and the lessee, and shall determine the amount of

compensation, if any, to be paid to the lessee.

(4)	For the purposes of subsection (3), the tribunal shall have

powers similar to those vested in the Court of First Instance for hearing

evidence, determining claims for damages and awarding costs.  (Amended 92

of 1975 s. 59; 25 of 1998 s. 2)

(5)	The practice and procedure in connection with any proceedings

before a tribunal under this section shall be such as the tribunal may

determine.

(6)	Any award or decision of a tribunal under this section shall be

final:

Provided that any party dissatisfied with the decision as being erroneous

in point of law, may, within 1 month after the decision, require the

tribunal to state and sign a case for the decision of the Court of

Appeal.  (Amended 92 of 1975 s. 59)

SECT 27

Compensation to be paid from funds provided by the Legislative Council VerDate:30/06/1997

Compensation awarded under section 26 shall be paid from such money as may

be provided from time to time by the Legislative Council.

SECT 28

Waste or misuse of a supply VerDate:30/06/1997

PART VI

MISCELLANEOUS

Any person who wastes or misuses, or causes or permits to be wasted or

misused, a supply shall be guilty of an offence.

SECT 29

Unlawful taking of water VerDate:30/06/1997

(1)	Except with the permission of the Water Authority, no person

shall-

(a)	take water from the waterworks other than through a fire

service, inside service or public standpipe;

(b)	take water through a fire service for any purpose other than

for fire fighting;

(c)	take water through an inside service for any purpose other than

that for which the water is supplied;

(d)	subject to section 18, take through a fire service or inside

service water which is not measured by a meter; or

(e)	divert water from the waterworks.

(2)	Any person who contravenes this section shall be guilty of an

offence and shall be liable to pay a charge for the water so taken or

diverted as if there had been a supply of that water to him as a

consumer.  (Amended 81 of 1992 s. 6)

SECT 30

Pollution VerDate:01/12/2006

(1) Any person who deposits, or causes or permits to be deposited, any

solid or liquid matter in such a manner or place that it may fall or be

washed or carried into water forming part of the waterworks shall be

guilty of an offence.

(2)	Any person who-

(a)	enters, or bathes or washes in, water forming part of the

waterworks;

(b)	washes or causes or permits any animal to enter therein; or

(c)	throws or places any thing therein,

shall be guilty of an offence.

(3)	No act shall be an offence under this section if it is done

with the permission in writing of the Water Authority.

(4)	Any person guilty of an offence under this section shall be

liable on summary conviction to a fine at level 5 and to imprisonment for

2 years.  (Amended 27 of 1983 s. 2; L.N. 266 of 2006)

SECT 31

Damage, etc., to waterworks VerDate:30/06/1997

Any person who, without the permission in writing of the Water Authority,

alters, interferes with, damages or destroys any part of the waterworks

shall be guilty of an offence.

SECT 32

Obstruction VerDate:01/12/2006

Any person who obstructs the Water Authority, or any person authorized by

him in writing, exercising any power, performing any duty, or carrying out

any function, under this Ordinance shall be guilty of an offence and shall

be liable on conviction to a fine at level 4 and to imprisonment for 6

months.

(Amended L.N. 266 of 2006)

SECT 33

Cost of repairing damage and recovery of damages or loss VerDate:30/06/1997

(1)	The Water Authority may carry out repairs or other works to any

fire service, inside service or any part of the waterworks which is

altered, interfered with, damaged, or destroyed as a result of the

commission of an offence, and the cost of such repairs or other works may,

upon an order of a magistrate, be recovered from the person convicted of

the offence in the same manner as if it were a fine imposed by a

magistrate under the Magistrates Ordinance (Cap 227).

(2)	If the Water Authority suffers any damage or loss as a result

of the commission of any offence referred to in subsection (1), such

damage or loss may, upon an order of a magistrate, be recovered from the

person convicted of the offence in the same manner as if it were a fine

imposed by a magistrate under the Magistrates Ordinance (Cap 227).

SECT 34

Presumptions and evidence in writing VerDate:30/06/1997

(1) In any civil or criminal proceedings it shall be presumed, until the

contrary is proved, that-

(a) in the case of any alteration or repairs to a fire service or inside

service (other than a communal service), the consumer has caused or

permitted the alteration or repairs;

(b) in the case of any alteration or repairs to a communal service, the

agent has caused or permitted the alteration or repairs.

(2) In any civil or criminal proceedings a document, purporting to be

signed by the Water Authority, or other person authorized by him, stating-

(a)	the name of a consumer of a fire service or inside service, or

the name of an agent of a communal service;

(b)	the location of the fire service, inside service or communal

service;

(c)	in the case of proceedings for the recovery of an unpaid

charge,-

(i)	the name of the person liable to pay the charge;

(ii)	the amount of the charge;

(iii)	the nature and other particulars of the charge; and

(iv)	that the charge remains unpaid;

(d)	in the case of proceedings in respect of alterations or repairs

to a fire service, inside service or communal service, the nature and

other particulars of the alterations or repairs,

shall be admitted in evidence without further proof.

(3)  When a document is admitted in evidence under subsection (2)-

(a)	until the contrary is proved, it shall be presumed that the

document is so signed;

(b)	the document shall be prima facie evidence of the facts stated

therein.

SECT 35

Penalties VerDate:01/12/2006

(1)	Any person who is guilty of an offence under this Ordinance

shall, unless a penalty is otherwise expressly provided, be liable on

summary conviction to a fine at level 4.

(2)	Any person convicted of an offence under section 29 or section

30(1) or (2) shall, if the offence is a continuing one, be liable to a

further fine of $1000 for every day or part of a day during which the

offence continues.

(Amended L.N. 266 of 2006)

SECT 36

Power of arrest VerDate:30/06/1997

(1)	Any public officer, authorized in writing in that behalf by the

Water Authority, may arrest any person whom he reasonably suspects of

having committed an offence under section 29(1)(e), 30, 31 or 32.

(2)	Where a public officer arrests a person under subsection (1) he

shall forthwith take that person to the nearest police station and hand

him over to the custody of a police officer, and thereupon section 52 of

the Police Force Ordinance (Cap 232) shall apply.

SECT 37

Regulations VerDate:01/12/2006

(1)	The Chief Executive in Council may make regulations for all or

any of the following matters-  (Amended 57 of 1999 s. 3)

(a)	the quality and type of a supply;

(b)	the construction, installation, maintenance, cleanliness,

alteration, repair or removal of a fire service or inside service;

(c)	the connexion or reconnexion of a fire service or inside

service to the main and the conditions subject to which such connexion or

reconnexion may be made;

(d)	the method of measuring or assessing consumption;

(e)	the provision, number, size, installation, maintenance, repair,

removal and custody of meters in premises;

(f)	the use of a supply for any particular purpose;

(g)	the prevention of waste or misuse of a supply;

(h)	the control of consumption from public standpipes;

(i)	the restriction or suspension of a supply or the disconnexion

of a fire service or inside service;

(j)	the charges payable under this Ordinance;

(k)	the deposits to be paid by consumers;

(l)	the surcharge which may be levied on an unpaid charge;

(m)	the licensing of plumbers for the purposes of this Ordinance

and control of licensed plumbers;

(n)	the taking of fish in waters forming part of the waterworks and

the arrest by an officer empowered under such regulations of any person

who he has reason to believe has contravened any specified regulation made

under this paragraph;

(o)	the prohibition and control of access to gathering grounds;

(p)	the provision and control of burial grounds, camping sites and

recreational facilities in gathering grounds;

(q)	the control over the use of gathering grounds for any purpose

other than those specified in paragraph (p);

(r)	the service of any notice, form or other document under this

Ordinance;

(s)	the signature on any notice, form or other document under this

Ordinance or the printing of a name in lieu of the signature;

(t)	prescribing anything which under this Ordinance is to be or may

be prescribed; and

(u)	generally for the better carrying out of this Ordinance.

(2)	A regulation made under this section may provide that a

contravention thereof shall be an offence and may prescribe a penalty for

such offence not exceeding a fine at level 3.  (Amended 27 of 1983 s. 3;

L.N. 266 of 2006)

(3)	Regulations made under subsection (1)(o), (p) or (q) shall not

apply to leased land within a gathering ground.

SECT 38

Water Authority may specify notices and forms VerDate:30/06/1997

(1)	A notice under this Ordinance shall be in writing and shall be

in such form as may be specified by the Water Authority.

(2)	The Water Authority may specify any forms required for the

purposes of this Ordinance.

(3)	The Water Authority may publish in the Gazette any forms

specified by him under subsection (2).

SECT 39

Transitional and saving provisions VerDate:30/06/1997

(1)	Any notice served, or map of a gathering ground prepared, under

the repealed Waterworks Ordinance (Cap 102 1964 Ed.)(hereinafter referred

to as the repealed Ordinance), and in force at the commencement of this

Ordinance, shall be deemed to have been served or prepared under this

Ordinance.

(2)	Any person who is a consumer under the repealed Ordinance shall

be deemed to be a consumer under this Ordinance and an undertaking given

or a deposit paid by a consumer under the repealed Ordinance shall be

deemed to be an undertaking given or a deposit paid under this Ordinance.