Milk House Water Quality Regulations

made under clause 9(q) and Section 11 of the

Dairy Industry Act

S.N.S. 2000, c. 24

N.S. Reg. 166/2006 (August 14, 2006, effective August 1, 2006)

as amended by N.S. Reg. 304/2007 (June 13, 2007)

Citation

1     The regulations may be cited as the Milk House Water Quality Regulations.

Interpretation

2     In these regulations, “milk house” means a building or structure

(a)    in which milk is cooled or stored; or

(b)    that contains milking equipment.

Water quality requirements

3     Water that is used to clean equipment and building surfaces in a milk house must meet all of the following quality requirements:

(a)    it must be delivered through a plumbing system that is safe for delivering potable water;

(b)    when tested, it must contain less than 1 colony forming units (cfu)/100 mls Escherichia coli bacteria;

Clause 3(b) amended: N.S. Reg. 304/2007.

(c)    when tested, it must test less than 10 colony forming units (cfu)/100mls total coliform bacteria.

Clause 3(c) amended: N.S. Reg. 304/2007.

Laboratory must perform tests

4     Tests referred to in Section 3 must be conducted by a nationally accredited laboratory.